{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["废水排放","无组织","周边环境"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"废水排放","index":0,"n_rows":32,"n_cols":22,"rows_kept":32,"merged":[[1,0,14,0],[1,1,14,1],[15,0,31,0],[15,1,31,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","受纳水体","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","流量(m³/s)","水温(°C)","生产负荷(%)","进口浓度","排放浓度","上限","下限","单位","是否超标","超标倍数","备注","是否有评价限值"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","总砷","2022-03-09",null,"","","","0.0006","0.1","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","总铅","2022-03-09",null,"","","","<0.07","0.1","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","总铬","2022-03-09",null,"","","","<0.004","0.1","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","生活垃圾填埋场污染控制标准(GB16889-2008)","现有和新建生活垃圾填埋场水污染物排放浓度限值","废水处理设施排放口","六价铬","2022-03-09",null,"","","","<0.004","0.05","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","总镉","2022-03-09",null,"","","","<0.005","0.01","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准(GB18918-2002)","表1基本控制项目最高允许排放浓度（日均值）,一级标准,A标准","废水处理设施排放口","粪大肠菌群","2022-03-09",null,"","","","100","1000","","CFU/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","氨氮（NH3-N）","2022-03-09",null,"","38.5","","0.314","5;8","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","pH值","2022-03-09",null,"","","","7.2","9","6","无量纲","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","化学需氧量","2022-03-09",null,"","","","<4","50","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","总汞","2022-03-09",null,"","","","<0.00004","0.001","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","悬浮物","2022-03-09",null,"","","","5","10","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施排放口","五日生化需氧量","2022-03-09",null,"","","","1.6","10","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准(GB 18918-2002)","基本控制项目最高允许排放浓度（日均值）,2006 年1 月1 日起建设的,水温≤12度,一级A 标准","废水处理设施排放口","总磷（以P计）","2022-03-09",null,"","","","0.04","0.5","","mg/L","否","","","是"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","城镇污水处理厂污染物排放标准(GB 18918-2002)","基本控制项目最高允许排放浓度（日均值）,2005 年12 月31 日前建设的,水温≤12度,一级A标准","废水处理设施排放口","总氮（以N计）","2022-03-09",null,"","","","17.5","15","","mg/L","是","0.17","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","广东省水污染排放限值标准(DB44/26—2001)","表4   第二类污染物最高允许排放浓度 (第二时段),一级标准,城镇二级污水处理厂","废水处理设施出水口(WS-00099)","化学需氧量","2022-01-04",null,"","","","23","40","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","总镉","2022-01-04",null,"","","","<0.00005","0.01","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","石油类","2022-01-04",null,"","","","<0.06","1","","mg/KG","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","动植物油","2022-01-04",null,"","","","<0.06","1","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","氨氮（NH3-N）","2022-01-04",null,"20.6","","","0.251","5;8","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","总汞","2022-01-04",null,"","","","<0.00004","1","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","六价铬","2022-01-04",null,"","","","<0.004","0.05","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","阴离子表面活性剂（LAS）","2022-01-04",null,"","","","<0.05","0.5","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","总砷","2022-01-04",null,"","","","0.0011","0.1","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","粪大肠菌群数","2022-01-04",null,"","","","700","1000","","个/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","pH值","2022-01-04",null,"20.6","","","7.5","9","6","无量纲","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","总铅","2022-01-04",null,"","","","<0.00009","0.1","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","悬浮物","2022-01-04",null,"","","","18","10","","mg/L","是","0.80","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","总铬","2022-01-04",null,"","","","<0.004","0.1","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","总氮（以N计）","2022-01-04",null,"","","","3.29","15","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,2006年1月1日后建设","废水处理设施出水口(WS-00099)","总磷（以P计）","2022-01-04",null,"","","","0.06","0.5","","mg/L","否","","","是"]
["2022年第1季度重点污染源监督性监测","紫金县古竹污水处理厂","","污水处理及其再生利用","","城镇污水处理厂污染物排放标准[国标](GB18918-2002)","（表1）基本控制项目最高允许排放浓度（日均值）,一级标准（水温＞12℃或≤12℃）,A标准,通用","废水处理设施出水口(WS-00099)","五日生化需氧量","2022-01-04",null,"","","","6.3","10","","mg/L","否","","","是"]

{"sheet":"无组织","index":1,"n_rows":5,"n_cols":20,"rows_kept":5,"merged":[[1,0,4,0],[1,1,4,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","风向","风速（m/s）","温度(℃)","压力（kPa）","排放浓度","上限","下限","单位","是否超标","超标倍数","备注"]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区北","甲烷","2022-03-09","","","","","0.0002","","","%","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区西南","甲烷","2022-03-09","","","","","0.0002","","","%","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区东南","甲烷","2022-03-09","","","","","0.0003","","","%","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废气项目","填埋区南","甲烷","2022-03-09","","","","","0.0002","","","%","否","",""]

{"sheet":"周边环境","index":2,"n_rows":128,"n_cols":35,"rows_kept":128,"merged":[[0,0,1,0],[0,1,1,1],[0,2,1,2],[0,3,1,3],[0,4,1,4],[0,5,1,5],[0,6,1,6],[0,7,1,7],[0,8,1,8],[0,9,0,13],[0,14,0,17],[0,18,0,19],[0,20,0,24],[0,25,0,26],[0,27,1,27],[0,28,1,28],[0,29,1,29],[0,30,1,30],[0,31,1,31],[0,32,1,32],[0,33,1,33],[0,34,1,34],[2,0,127,0],[2,1,127,1]],"flags":["formulas_cached_only"]}
["任务名称","企业名称","名录类别","行业类别","执行标准名称","执行标准条目名称","监测点","监测项目","监测日期","周边环境-环境空气","周边环境-环境空气","周边环境-环境空气","周边环境-环境空气","周边环境-环境空气","周边环境-地表水","周边环境-地表水","周边环境-地表水","周边环境-地表水","周边环境-地下水","周边环境-地下水","周边环境-土壤","周边环境-土壤","周边环境-土壤","周边环境-土壤","周边环境-土壤","周边环境-噪声","周边环境-噪声","折算/浓度/昼间","夜间","上限","下限","单位","是否超标","超标倍数","备注"]
["","","","","","","","","","湿度(%)","气温（℃","气压(kPa)","风速(m/s)","风向","流量(m³/s)","感官描述","有无漂浮物","有无油","井深（m）","水位（m）","采样深度(m)","土壤颜色","土壤水分(%)","利用情况","土壤pH值","声源","风速(m/s)","","","","","","","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","","5#监视井","高锰酸盐指数","2022-03-09","","","","","","","","","","","","","","","","","","","0.9","","","","mg/m3","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","5#监视井","粪大肠菌群","2022-03-09","","","","","","","","","","","","","","","","","","","500","","","","CFU/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","氯化物","2022-03-09","","","","","","","","","","","","","","","","","","","1.49","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","汞","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00004","","0.001","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","砷","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","亚硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","<0.016","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","氨氮","2022-03-09","","","","","","","","","","","","","","","","","","","<0.025","","0.5","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","挥发性酚类（以苯酚计）","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","铜","2022-03-09","","","","","","","","","","","","","","","","","","","0.00388","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","0.526","","20.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","铅","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00009","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","镉","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00005","","0.005","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","铁","2022-03-09","","","","","","","","","","","","","","","","","","","0.00533","","0.3","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","氟化物","2022-03-09","","","","","","","","","","","","","","","","","","","0.054","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","六价铬","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","总硬度","2022-03-09","","","","","","","","","","","","","","","","","","","7","","450","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","硫酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","1.01","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","pH值","2022-03-09","","","","","","","","","","","","","","","","","","","6.9","","8.5","6.5","无量纲","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","总锌","2022-03-09","","","","","","","","","","","","","","","","","","","0.0273","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","锰","2022-03-09","","","","","","","","","","","","","","","","","","","0.00046","","0.10","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","5#监视井","氰化物","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","1#本底井","粪大肠菌群","2022-03-09","","","","","","","","","","","","","","","","","","","100","","","","CFU/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","氯化物","2022-03-09","","","","","","","","","","","","","","","","","","","19.9","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","汞","2022-03-09","","","","","","","","","","","","","","","","","","","0.00004","","0.001","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","砷","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","亚硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","<0.016","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","氨氮","2022-03-09","","","","","","","","","","","","","","","","","","","<0.025","","0.5","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","挥发性酚类（以苯酚计）","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","铜","2022-03-09","","","","","","","","","","","","","","","","","","","0.00190","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","0.391","","20.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","铅","2022-03-09","","","","","","","","","","","","","","","","","","","0.00197","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","镉","2022-03-09","","","","","","","","","","","","","","","","","","","0.00005","","0.005","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","铁","2022-03-09","","","","","","","","","","","","","","","","","","","0.0193","","0.3","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","氟化物","2022-03-09","","","","","","","","","","","","","","","","","","","0.049","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","六价铬","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","总硬度","2022-03-09","","","","","","","","","","","","","","","","","","","15","","450","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","硫酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","4.45","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","pH值","2022-03-09","","","","","","","","","","","","","","","","","","","7.1","","8.5","6.5","无量纲","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","总锌","2022-03-09","","","","","","","","","","","","","","","","","","","0.00162","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","锰","2022-03-09","","","","","","","","","","","","","","","","","","","0.00250","","0.10","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","1#本底井","氰化物","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","","1#本底井","高锰酸盐指数","2022-03-09","","","","","","","","","","","","","","","","","","","<0.5","","","","mg/m3","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","2#排水井","粪大肠菌群","2022-03-09","","","","","","","","","","","","","","","","","","","500","","","","CFU/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","氯化物","2022-03-09","","","","","","","","","","","","","","","","","","","1.53","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","汞","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00004","","0.001","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","砷","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","亚硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","<0.016","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","氨氮","2022-03-09","","","","","","","","","","","","","","","","","","","<0.025","","0.5","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","挥发性酚类（以苯酚计）","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","铜","2022-03-09","","","","","","","","","","","","","","","","","","","0.00086","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","0.142","","20.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","铅","2022-03-09","","","","","","","","","","","","","","","","","","","0.00076","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","镉","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00005","","0.005","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","铁","2022-03-09","","","","","","","","","","","","","","","","","","","0.0353","","0.3","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","氟化物","2022-03-09","","","","","","","","","","","","","","","","","","","0.069","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","六价铬","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","总硬度","2022-03-09","","","","","","","","","","","","","","","","","","","28","","450","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","硫酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","1.18","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","pH值","2022-03-09","","","","","","","","","","","","","","","","","","","7.0","","8.5","6.5","无量纲","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","总锌","2022-03-09","","","","","","","","","","","","","","","","","","","0.00331","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","锰","2022-03-09","","","","","","","","","","","","","","","","","","","0.00023","","0.10","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","2#排水井","氰化物","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","","2#排水井","高锰酸盐指数","2022-03-09","","","","","","","","","","","","","","","","","","","<0.5","","","","mg/m3","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","氯化物","2022-03-09","","","","","","","","","","","","","","","","","","","14.8","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","汞","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00004","","0.001","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","砷","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","亚硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","<0.016","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","氨氮","2022-03-09","","","","","","","","","","","","","","","","","","","<0.025","","0.5","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","挥发性酚类（以苯酚计）","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","铜","2022-03-09","","","","","","","","","","","","","","","","","","","0.00123","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","0.428","","20.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","铅","2022-03-09","","","","","","","","","","","","","","","","","","","0.00067","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","镉","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00005","","0.005","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","铁","2022-03-09","","","","","","","","","","","","","","","","","","","0.0178","","0.3","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","氟化物","2022-03-09","","","","","","","","","","","","","","","","","","","0.094","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","六价铬","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","总硬度","2022-03-09","","","","","","","","","","","","","","","","","","","15","","450","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","硫酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","5.03","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","pH值","2022-03-09","","","","","","","","","","","","","","","","","","","7.0","","8.5","6.5","无量纲","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","总锌","2022-03-09","","","","","","","","","","","","","","","","","","","0.00586","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","锰","2022-03-09","","","","","","","","","","","","","","","","","","","0.00299","","0.10","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","4#扩散井","氰化物","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","4#扩散井","粪大肠菌群","2022-03-09","","","","","","","","","","","","","","","","","","","1000","","","","CFU/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","","4#扩散井","高锰酸盐指数","2022-03-09","","","","","","","","","","","","","","","","","","","0.5","","","","mg/m3","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","氰化物","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","6#监视井","粪大肠菌群","2022-03-09","","","","","","","","","","","","","","","","","","","500","","","","CFU/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","","6#监视井","高锰酸盐指数","2022-03-09","","","","","","","","","","","","","","","","","","","<0.5","","","","mg/m3","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","氯化物","2022-03-09","","","","","","","","","","","","","","","","","","","18.1","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","汞","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00004","","0.001","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","砷","2022-03-09","","","","","","","","","","","","","","","","","","","0.0009","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","亚硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","<0.016","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","氨氮","2022-03-09","","","","","","","","","","","","","","","","","","","<0.025","","0.5","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","挥发性酚类（以苯酚计）","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","铜","2022-03-09","","","","","","","","","","","","","","","","","","","0.00098","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","0.208","","20.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","铅","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00009","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","镉","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00005","","0.005","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","铁","2022-03-09","","","","","","","","","","","","","","","","","","","0.0124","","0.3","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","氟化物","2022-03-09","","","","","","","","","","","","","","","","","","","0.153","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","六价铬","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","总硬度","2022-03-09","","","","","","","","","","","","","","","","","","","13","","450","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","硫酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","4.48","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","pH值","2022-03-09","","","","","","","","","","","","","","","","","","","7.1","","8.5","6.5","无量纲","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","总锌","2022-03-09","","","","","","","","","","","","","","","","","","","0.00342","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","6#监视井","锰","2022-03-09","","","","","","","","","","","","","","","","","","","0.00032","","0.10","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","","","3#扩散井","高锰酸盐指数","2022-03-09","","","","","","","","","","","","","","","","","","","0.7","","","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","不评价的项目（新疆）(DB001XJ)","废水项目","3#扩散井","粪大肠菌群","2022-03-09","","","","","","","","","","","","","","","","","","","100","","","","CFU/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","氯化物","2022-03-09","","","","","","","","","","","","","","","","","","","7.62","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","汞","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00004","","0.001","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","砷","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","亚硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","<0.016","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","氨氮","2022-03-09","","","","","","","","","","","","","","","","","","","<0.025","","0.5","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","挥发性酚类（以苯酚计）","2022-03-09","","","","","","","","","","","","","","","","","","","<0.0003","","0.002","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","铜","2022-03-09","","","","","","","","","","","","","","","","","","","0.00073","","1.00","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","硝酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","0.488","","20.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","铅","2022-03-09","","","","","","","","","","","","","","","","","","","0.00198","","0.01","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","镉","2022-03-09","","","","","","","","","","","","","","","","","","","<0.00005","","0.005","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","铁","2022-03-09","","","","","","","","","","","","","","","","","","","0.0122","","0.3","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","氟化物","2022-03-09","","","","","","","","","","","","","","","","","","","0.057","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","六价铬","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","总硬度","2022-03-09","","","","","","","","","","","","","","","","","","","12","","450","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","硫酸盐","2022-03-09","","","","","","","","","","","","","","","","","","","3.14","","250","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","pH值","2022-03-09","","","","","","","","","","","","","","","","","","","6.8","","8.5","6.5","无量纲","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","总锌","2022-03-09","","","","","","","","","","","","","","","","","","","0.0296","","1.0","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","锰","2022-03-09","","","","","","","","","","","","","","","","","","","0.00056","","0.10","","mg/L","否","",""]
["2022年第1季度垃圾处理企业监督性监测","河源市正博实业有限公司","土壤环境","环境卫生管理","地下水质量标准(GB/T 14848-2017)","（表1）地下水质量常规指标及限值,Ⅲ类","3#扩散井","氰化物","2022-03-09","","","","","","","","","","","","","","","","","","","<0.004","","0.05","","mg/L","否","",""]